## Sheet1
task | item
**YSI calibration** | follow SOP to calibrate DO, conductivity, and pH
wait for readings to stabilize before accepting calibration
**Program and deploy continuous data logger** | Follow SOP to program continuous HOBO datalogger to deploy at desired date, time and sampling interval using HOBO Connect phone app
Securely attach logger to block for underwater deployment
Securely attach line to block and buoy to line using proper knots (bowline and lobster buoy hitch)
**Filtering for TSS and chl a** | Follow SOP to filter water samples for TSS and chl a
Use pre-muffled filters for TSS
Record volume filtered
Rinse filter with DI water before removing filter from filter funnel
Fold filter in half with filtrate facing in before placing in foil
Label foil with date, location, filter number, and volume filtered
**Basic water quality measurements** | Follow SOP to use YSI, secchi disk, and LiCOR to measure water quality, secchi depth, and a vertical light profile
Wait for YSI readings to stabilize before recording data
Accurately transcribe YSI, secchi disk, and light data to water quality data sheet
Record researcher names, date, and location on water quality data sheet
**Properly secure boat** | Properly secure boat to dock using a cleat hitch